FALL PROTECTION TRAINING

PRETEST

NAME:_____________________________DATE:________________SCORE:____/13

(Print)

- Select the proper hierarchy of fall hazard controls listed in ANSI Z359.0

  - Engineering, Fall Prevention, Fall Restraint, Fall Arrest.

  - Engineering, Guarding, Fall Restraint,  Fall Arrest

  - Elimination or Substitution, Engineering, Administrative, PPE

  - Elimination or Substitution, Passive Fall Protection, Fall Restraint, Fall Arrest, Administrative

- When controlling fall hazards, __________________ is the first control that should be considered.

- You must inspect fall protection equipment how often?

- Before the start of every job

- Annually

- Quarterly

- Prior to use

- Guardrails are an example of a _____________________ control.

- Fall Restraint

- Fall Arrest

- Elimination or Substitution

- Passive Fall Protection

- A common problem with fall restraint systems is _______.

- Allows work on leading edges

- Easier to implement

- Safety monitor is required

- Lanyard length

- Fall Arrest anchor points must be able to withstand a minimum of ___lbs per person for the maximum period of time that exposure is expected.

- 200lbs

- 7000lbs

- 5000lbs

- 3000lbs

- T or F A fixed ladder over 20’ must be equipped with a fall protection system or device

- Swing hazards are created when tied off with more than ______ offset from your anchor point

- 90º

- 30º

- 45º

- 25º

- None of the above

- (T/F)  After a fall, fall protection equipment should be thoroughly inspected before returning to use.

- The total fall distance using a 6 foot shock-absorbing lanyard is  __ feet.

- 6.5

- 18.5

- 9.5

- 21.5

- When working from elevated platforms ______ should be completed to warn of overhead hazards.

- “Working Above” caution signs placed below work area

- Restricted access ropes or tape under work area.

- No action

- A & b

- The most common cause of fatal fall accidents are falls from _________ and ____________. (select two)

  - Roofs

  - Ladders

  - Platforms

  - Scaffolding

  - Aerial lifts

  - Slips and Trips

- The maximum free fall distance allowed by OSHA is ______ feet.

  - 2

  - 3

  - 8

  - 6