## Sheet1
CleanAir Value Estimator Workbook
Value of Fixing a De-Rated Boiler (when at internal generation system capacity OR when they have an eagar power buyers)
Lost Megawatt Method |  | 4161000
Derated Megawatts = | 100 | 4161000
Estimate of KWH value = | 0.05 | 4161000
Avalibility Estimate | 95% | 4161000
Prime Interest Rate = | 8% | 4161000
Annual Lost Revenue= | 41610000 | 4161000
Estimate of Profit, % | 10% | 4161000
Annual Lost Profit | 4161000 | 4161000
4161000
NPV of Lost Profit | 25567543.7268 | 4161000
Value Based On Capital Cost Avoidance
If Utility is at the limit of their system generating capacity they would have to purchase power for the near term and then build extra capacity for the long term. Both of these options will most likely cost much more than the above calculation.
De-Rating of a high cost to operate unit during a low demand time only is a problem if demand pick up and exceeds supply of lower cost power.
Key
Entered Data
Intermediate Result
Real Ve Present Value