## 2006
MOTOR INVENTORY
IN SERVICE | ER 1 |  |  | ER 2 & 3 |  | HP 1 |  | HP 2 |  | HP 3 |  | HP 3A |  | HP 4 |  | HP 5 |  | HP 7 |  | HP 8 |  | HP 9 |  | WELL PUMP 1 |  |  | WELL PUMP 2 & 3 |  |  | WELL PUMP 4&5 |  |  | BOILER 1 |  | BOILER 2 |  | ELECTRICAL ROOM |  | MOTOR 1 SW CORNER |  | MOTOR 2 SW CORNER
| BRAND | DAYTON |  | HP | 7.5 | HP | 5 | HP | 15 | HP | 3 | HP | 3 | HP | 5 | HP | 1 | HP | 2 | HP | 2 | HP | 2 | BRAND | MARATHON ELECTRIC |  | BRAND | MARATHON ELECTRIC |  | BRAND | MARATHON ELECTRIC |  | HP | 1.5 | HP | 1.5 | HP | 1.5 | HP | 2 | HP | 2
| MODEL # | 3KW37B |  | BRAND | GE | BRAND | U.S. ELECTRICAL MOTORS | BRAND | DAYTON | BRAND | U.S. ELECTRICAL MOTORS | BRAND | U.S. MOTORS | BRAND | DAYTON | BRAND | DAYTON | BRAND | GE | BRAND | GE MOTORS | BRAND | GE MOTORS | MODEL | G221 |  | MODEL | WVF56T17D5318A |  | CAT NO | G221 |  | BRAND | GE | BRAND | MAGNETEK | BRAND | DAYTON | BRAND | DAYTON | BRAND | DAYTON
| FR | 184T |  | MODEL | 5K213AD205A | MODEL | E658A | MODEL | 3N736 | MODEL | E790A | CATALOG # | D3P2B | MODEL | 5N309 | MODEL # | 3N488C | MOD | 5K49UG2845X | MOD | 5K49UN4086X | MOD | 5K49UG960K | FR | 56C-70 |  | CAT NO | G225 |  | MODEL | WVA56T17D5316A |  | CAT NO | K222 | CAT NO | H609 | MOTOR TYPE | CIRCULATOR PUMP MOTOR | MODEL | 3M555 | TYPE | JET PUMP MOTOR
| ENCL | DP |  | VOLTS | 200*-230/460 | VOLTS | 230/460 | VOLTS | 208-230/460 | VOLTS | 208-230/460 | MODEL # | R333 | VOLTS | 230/460 | VOLTS | 208-220/440 | VOLTS | 208-230/460 | V | 208-230/460 | V | 230/460 | AMB | 40o C |  | FR | 56C-70 |  | FR | 56C-70 |  | MOD | 5K46KN2173 | PART | 8-135854-21 | MODEL # | 3K515 | RPM | 1150 | MOD | 5K176D
| TYPE | FD |  | RPM | 1745 | RPM | 1715 | RPM | 1745 | RPM | 1740 | ID # | H12-R333-M | RPM | 1755 | RPM | 1725 & 1425 | RPM | 1725 | RPM | 1725 | RPM | 1725 | DESIGN | B |  | AMB | 40o C |  | PH | 3 |  | V | 208-230/460 | FR | J56C | RPM | 1725 | NEMA DESIGN | B | RPM | 3450
| INSUL CLASS | F |  | AMP | 22.8/11.4 | FL AMPS | 13.4/6.7 | AMPS | 42.6-38.4/19.2 | FL AMPS | 9.5-9.0/4.5 | SHAFT END BRG | 6206-2ZJC3 | AMP | 13.4/6.7 | AMPS | 3.4-3.4/1.7 | A | 6.5-6.6/3.3 | A | 6.2-6.0/3.0 | A | 6.2/3.1 | PH | 3 |  | DESIGN | B |  | TYPE | TS |  | RPM | 3450 | TYPE | SC | V | 115 | FRAME | H184T | V | 115/230
| MAX AMB | 40o C |  | HZ | 60 | HZ | 60 | SF AMPS | 50.2-44.4/22.2 | HZ | 60 | OPP END BRG | 6205-2ZJC3 | SFA | 14.8/7.4 | SFA | 4.1-4.0/2.0 | SFA | 7.2-7.2/3.6 | SFA | 6.9-6.6/3.3 | SFA | 7.2/3.6 | TYPE | TS |  | PH | 3 |  | AMB | 40o C |  | A | 5.0-4.8/2.4 | RPM | 3450/2850 | PH | 1 | PH | 3 | FLA | 22/11
| DUTY | CONT |  | SF | 1.15 | PH | 3 | HZ | 60 | PH | 3 | TYPE | DE | HZ | 60 | HZ | 60 & 50 | HZ | 60 | HZ | 60 | HZ | 60 | INSUL CLASS | B |  | TYPE | TS |  | INS | B |  | SFA | 6.5-6.0/3.0 | HZ | 60/50 | HZ | 60 | HZ | 60 | FR | 56J
| PH | 3 |  | INS | B | SF | 1.15 | PH | 3 | SF | 1.15 | ENCL | DP | PH | 3 | PH | 3 | PH | 3 | PH | 3 | PH | 3 | DUTY | CONT |  | INSUL CLASS | B |  | DUTY | CONT |  | AMB | 40o C | PH | 3 | FLA | 2.5 | SF | 1 | HZ | 60
| SHAFT END BRG | 6206-2ZJC3 |  | ENCL | DP | INSUL CLASS | F | SF | 1.15 | INSUL CLASS | B | PH | 3 | SF | 1.15 | SF | 1.25 | SF | 1.15 | SF | 1.15 | SF | 1.15 | CODE | L |  | DUTY | CONT |  | DES | B |  | TIME RATING | CONT | SF | 1.3 | AMB | 50o C | INSUL CLASS | BR | PH | 1
| OPP END BRG | 6204-2ZJC3 |  | TIME | CONT | ENCL | DP | INSL CLASS | F | ENCL | D | MAX AMB | 40o C | INSUL CLASS | B | FR | 56 | FR | 56H | FR | 56H | FR | 56Y | ENCL | DP |  | CODE | K |  | CODE | L |  | HZ | 60 | VOLTS | 200-230/460 | SF | 1.75 | KVA CODE | K | KVA CODE | J
| MOTOR REF | J01-AE38A-H |  | NO. | SEK0A028C61 | MAX AMB | 40o C | MAX AMB | 40o C | MAX AMB | 40o C | FR | 182T | ENCL | DP | INSUL CLASS | A | INSUL CLASS | B | TIME RATING | CONT | TIME RATING | CONT | HZ | 60 | 50 | ENCL | DP |  | ENC | DP |  | PH | 3 | AMPS | 4.7-4.4/2.2 | SFA | 2.8 | CONT RATING |  | INS | B
| MAX KVAR | 2.2 |  | TYPE | K | DUTY | CONT | ID # | E373L92V253R33-9 | DUTY | CONT | INSUL CLASS | F | MAX AMB | 40o C | BRG | BALL | NEMA DESIGN | B | INSUL CLASS | B | INSUL CLASS | B | HP | 1 | 0.75 | HZ | 60 | 50 | HZ | 60 | 50 | CODE | K | TIME | CONT |  |  | MAX KVAR | 30 | MAX AMB
| HZ | 60 | 50 | FRAME | 213T | ID | T07T131R021M | FRAME | 254T | ID | T0___21R050M | DUTY | CONT | LR KVA CODE | J | ENCL | ODP | MAX AMB | 40o C | NEMA DESIGN | B | NEMA DESIGN | B | RPM | 1725 | 1425 | HP | 1.5 | 1 | HP | 1 | 0.75 | SF | 1.3 | AMB | 40o C |  |  | MOTOR REF | R752211831 | DUTY | DP
| HP | 5 | 5 | DESIGN | B | TYPE | D | NEMA DESIGN | B | TYPE | D | RPM | 1770 | DUTY | CONT | MAX AMB | 40o C | CODE | M | SER NO. | YTJ120164 | SER # | SEL - | VOLT | 208-230/460 | 190/380 | RPM | 1725 | 1425 | RPM | 1725 | 1425 | FR | 56C | IC | B |  |  | TYPE | PF | SF | 1.25
| RPM | 1760 | 1445 | CODE | H | FRAME | 184T | SHAFT END BRG | 6309-2ZJC3 | FRAME | 182T | SF | 1.15 | MOTOR REF | J389A/J94X227R005F | KVA CODE | K | TIME RATING | CONT | AMB | 40o C | AMB | 40o C | FLA | 3.5-3.6/1.8 | 3.4/1.7 | VOLT | 208-230/460 | 190/380 | VOLT | 208-230/460 | 190/380 | INSUL CLASS | B | CODE | L |  |  | SHAFT END BRG | 6206 | SFA | 2.7/3.5
| VOLTS | 208-230/460 | 190/380 | MAX KVAR | 4.6 | DES | B | OPP END BRG | 6307-2ZJC3 | DES | B | HZ | 60 | TYPE | DE | DUTY | CONT | STK # | K1418 | CODE | K | CODE | L | SF | 1.15 | 1.15 | FLA | 4.8-4.8/2.4 | 4.2/2.1 | FLA | 3.5-3.6/1.8 | 3.4/1.7 | NEMA DESIGN | B | FORM | KXA |  |  | OPP END BRG | 6204 | BRGS | BALL
| FL AMPS | 13.9-13/6.5 | 15.8/7.9 | PHASE | 3 | SHAFT END BRG | 6206-2Z | LR KVA CODE | H | SHAFT END BRG | 6206-2Z | VOLTS | 230/460 | FRAME | 1841 | MOTOR REF | R605884C | [9 empty] | SF | 1.15 | 1.15 | SF | 1.15 | 1.15 |  |  | SERIAL | BG11-284 |  |  | NEMA NOM EFF | 81.5 | MTR REF | 1103052449
| SF AMPS | 14.8-7.4 | 1 |  |  | OPP END BRG | 6205-2Z | NEMA NOM EFF | 88.5 | OPP END BRG | 6205-2Z | AMPS | 7.8/3.9 | NEMA DESIGN | B | MFG # | G027 | [21 empty] | POWER FACTOR | 68.5 | DATE CODE | F84
| SF | 1.15 | B |  |  | CODE | J | POWER FACTOR | 84 | CODE | K | MAX KVAR | 1.1 | MAX LVAR | 1.7 | FLA | 4.0-4.2/2.1 | [21 empty] | VOLTS | 230/460
| DESIGN | B | G |  |  | NEMA NOM EFF | 80 | MAX KVA | S | NEMA NOM EFF | 78.5 | NEMA NOM EFF | 90.2 | SHAFT END BRG | 6206 | SFA | 4.5-4.6/2.3 | [21 empty] | AMPS | 7/3.5
| CODE | J | 84 | [8 empty] | CODE | K | OPP END BRG | 6204 | TYPE | P
| NEMA NOM EFF | 87.5 | 85.8 | [8 empty] | DES | B | NEMA NOM EFF | 89.5
| NOM PF | 81.7 | 81.5 | [8 empty] | PF | 79 | POWER FACTOR | 80.5
| GUARANEED EFF | 85.5 | 1.8
OUT OF SERVICE | ELECTRICAL ROOM 2 |  |  | ELECTRICAL ROOM 1 |  | A |  | OLD HP 8 (B) |  | Old HP 3A |  | OLD HP4 (C) |  | F |  | G |  | D |  | E
| HP | 0.5 |  | HP | 0.75 | HP | 2 | HP | 2 | HP | 3 | HP | 5 (MAYBE 6) | HP | 15 | HP | 15 | HP | 20 | HP | 25
| BRAND | DAYTON |  | BRAND | GE | BRAND | GE | BRAND | GE | BRAND | DAYTON | BRAND | US ELCTRICAL MOTORS | BRAND | BALDOR | BRAND | US ELECTRICAL MOTORS | BRAND | UNIMOUNT 125 | BRAND | BALDOR
| TYPE OF MOTOR | JET PUMP MOTOR |  | TYPE OF MOTOR | AIR CONDITIONING MOTOR | MOD | 5K49UG8001 | MOD | 5K49UG960K | MODEL | 5N306 | MODEL | E658A | CAT # | M2513T | PH | 3 | PHASE | 3 | CAT # | M2531T
| MOD NO | 9K679 |  | MODEL # | 5KC38NG 434X | HZ | 60 | HZ | 60 | VOLTS | 230-460 | FRAME | 184T | SPEC | 37F360X484 | HZ | 60 | HZ | 60 | SPEC | 40B01Z39
| RPM | 3450 |  | FR | 48 | V | 208-230/460 | V | 230/460 | RPM | 1765 | VOLTS | 230/460 | FRAME | 254T | RPM | 1745 | RPM | 1765 | FRAME | 284T
| BRG | BALL |  | RPM | 3450 | PH | 3 | PH | 3 | AMPS | 8.2-4.1 | FL AMPS | 13.4/6.7 | SER | F680 | FRAME | 254T | CODE | G | SER | 490C
| PH | 1 |  | PH | 1 | RPM | 1725 | RPM | 1725 | SFA | 9.0-4.6 | TYPE | D | VOLTS | 230/460 | VOLTS | 230/460 | NEMA DESIGN | B | VOLTS | 230/460
| FR | 56I |  | INSUL CLASS | A | CODE | M | CODE | C | HZ | 60 | ENCL | DP | AMPS | 39/19.5 | FL AMPS | 40/20 | NEMA NOM EFF | 90.2 | AMPS | 64/32
| ENCL | ODP |  | AMB | 40o C | A | 5.5-6.6/3.3 | A | 6.2/3.1 | PH | 3 | SF | 1.15 | RPM | 1760 | TYPE | D | FRAME | 256T | RPM | 1760
| MAX AMB | 40o C |  | SFA | 11.4/5.7 | SF | 1.15 | SF | 1.15 | SF | 1.15 | CODE | J | HZ | 60 | SF | 1.15 | TYPE | UT | HZ | 60
| KVA CODE | M |  | SF | 1.25 | SFA | 7.2-.2/3.6 | SFA | 7.2/3.6 | INSUL CLASS | B | DESIGN | B | PH | 3 | DUTY | CONT | VOLTS | 230/460 | PH | 3
| VOLTS | 115 |  | V | 115/230 | FR | 145T | FR | 56Y | ENCL | DP | NEMA NOM EFF | 80 | CLASS | F680 | MAX AMB | 40o C | FL AMPS | 49.6/24.8 | CLASS | B
| HZ | 60 |  | CODE | K | AMB | 40o C | AMB | 40o C | MAX AMB | 40o C | INSUL CLASS | F | SER F | 1.15 | ID | E822A/T07T143R074F | SF AMPS | 64.0/32.0 | CODE | F
| DUTY | CONT |  | A | 9.8/4.9 | INSUL CLASS | B | INSUL CLASS | B | MAX KVAR | 1.1 | ID | T07T131R021M | DESIGN | BALDOR | SHAFT END BRG | 6209-2Z-J/C3 | ID | G40421U11U235R167F | DESIGN | B
| AMPS | 8.2 |  | HZ | 60 | NEMA DESIGN | B | NEMA DESIGN | B | DUTY | CONT | SHAFT END BRG | 6206-2Z | CODE | K | OPP END BRG | 6272-2Z-J/C3 | SHAFT END BRG | 6309-2Z-3/C3 | SF | 1.15
| SF | 1 |  | *untested |  | TIME RATING | CONT | TIME RATING | CONT | MOTOR REF | J386A/C93X350P723F/ | OPP END BRG | 6205-2Z | NEMA NOM EFF | 87.5 | INSUL CLASS | B | OPP END BRG | 6207-2Z-3/C3 | NEMA NOM EFF | 88
| SFA | 8.2 |  |  |  | SER # | REJ | SERIAL NO | SEL - | TYPE | DE | MAX AMB | 40o C | PF | 80 | CODE | G | INSUL CLASS | F | PF | 82
| INS CL | B |  |  |  | CAT # | K133 | *works (shakes and noisy) - spare only |  | FRAME | 1821 | DUTY | CONT | *untested |  | NEMA DESIGN | B | *untested |  | *untested
| *untested |  |  |  |  | *tested - works |  |  |  | NEMA DESIGN | B | *untested |  |  |  | NEMA NOM EFF | 87.5
[10 empty] | SHAFT END BRG | 6206 |  |  |  |  | *untested
| Above by Joey Pacilio Summer 2006 | [8 empty] | OPP END BRG | 6204
[10 empty] | POWER FACTOR | 79
[10 empty] | NEM NOM EFF | 90.2
*Broken